	                      DTNA Santiago        

                 New Topcoat Paint Facility                     

[image: image1.jpg]DAIMLER



[image: image2.png]PNEU - MECH PAINT FACILITIES







	

	


                                      Inspection Deck Specifications

Inspection Deck General Description

The Inspection Deck will be located on the lower level prior to the repair system. Cabs will be inspected prior to being transferred to the delivery conveyor to Assembly. This deck will also be utilized for finesse operations as well.

The design of the deck will provide for inspection quality lighting and can be accessed from either side.

 Inspection Deck Dimensions

	ITEM
	DESCRIPTION

	Inspection Deck: 
	
	· 10000mm L x 6500mm W x 500mm H


 Inspection Deck Construction

	ITEM
	DESCRIPTION

	Construction 
	Load Deck Support Steel:
	· Welded Construction

	Details:
	Legs / Gussets
	· Mild Steel W Beam 

	
	Platform:
	· Mild Steel W Beam

	Construction

Details: 
	Load Deck Lighting Supports:

Side, Top and Gussets:
	· Welded Construction

·  Mild Steel W Beam

	
	Lighting:
	·  32 - (3) tube fluorescent light fixtures

	Construction:
	Load Deck Walking Surface:
	· Welded Construction

· 6mm Checker Plate

	Construction:

Details:
	Tool Rails:

Hand Rails
	· Welded Construction

· Mild Steel Tubing                                                         

	Construction:

Details:
	Load Deck Stairs:

Grating Treads:
	· Welded Construction

· 30mm Banded with baring bars on 30mm c/c and crossbars on 100mm c/c.                                                          


Painting:

	ITEM
	DESCRIPTION

	Mild Steel:
	
	All Structural Steel Delivered to Site Shall be Shop Primed

	
	
	After Installation, (1) One Finish Coat

	Galvanized / Aluminized Steel:
	
	No Coating


Inspection Deck Purchased Equipment:

1. Florescent Light Fixtures – 32 x 3 tubes, (2000mm) cord c/w twist lock plug, open front, industrial type.

Inspection Deck Specifications

Proprietary and Confidential


3/7/2012

