Clarifications for DTNA Santiago New Topcoat Paint Facilities

- Warranty: 1 Year from Production Start Not to Exceed 30 Days from System Start-Up. (Cost for 2 years provided)

- All Taxes, Permits, Approvals and Inspections by Volvo Powertrain

- All custom clearances or custom duties by Volvo Powertrain

- PMPF will not be responsible for Punitive, Consequential or Liquidated Damages related to this Project.

- Costs for spare parts have not been included in this proposal. Optional cost for inventoried spare parts can be provided upon request

- Roof Openings and Roof Curbs have not been included as part of base bid.

- DTNA to Provide Utility Services Sized for System (Power, Gas, Compressed Air, etc.) Within 15 Meters of Points of Use.

- Anvide Ample Storage On-Site for Fabricated Materials Prior to Installation.

- P.E. stamps for structural steel have been included. No Cost's for any type of Local Business License have been included.

- Pricing summary costs is for accounting purposes only. Line item costs cannot be used as standalone numbers.

- Typical Wet fire protection system provided for the proposed system.

- Breathable Air Hoods and Apparatus have not been included

- One ( 1) LEL detector has been provided for the spray booth

- System provided shall meet NFPA requirements.

- No robots, installation or application equipment has been included.

- Costs for FMEA’s  have been included in this proposal. PFMEA’s not included.

- No engine skids have been included.

- No modular build or testing will be performed prior to shipment to site. If required, an additional cost can be provided.

PMPF will accept a penalty clause of .5% per week to a maximum 7.5% of the contract value based on identified schedule start-up and production dates. See attached PMPF Project Schedule.

- PMPF will provide Repair / Maintenance within normal reasonable industry standards based on PFQ.  PMPF to contract local Mechanical / Electrical / Control sub contractor to provide warranty repairs during the one year warranty period.

- PMPF takes exception to the 75 dBA noise level requirement. Noise level in each equipment area must be clarified based on type.

- PMPF takes exception to the 99% R an A requirements until final engineering and component selection have been made.

- If DTNA causes a delay on the installation portion of the project due to responsibilities identified as “DTNA” , PMPF shall be granted equal time to be added to the project completion schedule / penalty clause conditions.

- PMPF to provide Japanese speaking contract engineer to act as a liaison for the PMPF Project Team. PMPF to utilize local control panel builder / electrical engineer for communications regarding control design and implementation.

- PMPF’s intention is to source components for this system that will be readily available through local suppliers.

- First aid and first aid supplies will be provided by PMPF during installation. PMPF will not be responsible for stand-by medical personnel (Nurses and Doctors) as requested.

- Detailed Civil Engineering for pit design, curbs or trenches have not been included. Locations and sizes will be provided by PMPF for DTNA’s concrete sub contractor but not detailed engineering.

- PMPF to provide one set of consumption goods  prior to warranty start.

- Disposal of flushing materials for cleaning  paint distribution systems by Volvo.

- Disposal of construction trash by DTNA.

These are the clarifications we submitted as part of our proposal to DTNA Santiago. This is just a sample of our typical project clarifications. Not sure how you handle in India!!