## Sheet1
|  |  | Material Cost | Material Cost | Install Cost | Install Cost | Install Hours | Engineering Cost
Phosphate System
| Control Panel |  | 70000 | 52500 | 2000 | 1500 | 40 | 16000
| PLC Programmimng | [6 empty] | 24000
| Start Up | [6 empty] | 16000
| Flow switch to prove operation of exhaust fan |  | 100 | 75 | 400 | 300 | 8
Filter differential pressure switch
| Temperature probe, platinum 100 ohm RTD |  | 500 | 375 | 400 | 300 | 8
| Temperature Control Valve for Hot Water |  | 4000 | 3000 | 800 | 600 | 16
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 2
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Temperature probe, platinum 100 ohm RTD |  | 500 | 375 | 400 | 300 | 8
| Temperature Control Valve for Hot Water |  | 4000 | 3000 | 800 | 600 | 16
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 3
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 4
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 5
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 6
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Temperature probe, platinum 100 ohm RTD |  | 500 | 375 | 400 | 300 | 8
| Temperature Control Valve for Hot Water |  | 4000 | 3000 | 800 | 600 | 16
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 7
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 8
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 9
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 9
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 10
| Exit halo solenoid |  | 500 | 375 | 400 | 300 | 8
| Stage 1 Spray Pump – 37KW50HP (VFD) |  | 25000 | 18750 | 2000 | 1500 | 40
| 100 Amp Feeder 100' |  |  |  | 2345 | 1758.75 | 46
| Stage 2 Spray Pump – 55KW/75HP (VFD |  | 30000 | 22500 | 2000 | 1500 | 40
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Stage 3 Spray Pump – 37KW/50HP (VFD) |  | 25000 | 18750 | 2000 | 1500 | 40
| 100 Amp Feeder 100' |  |  |  | 2345 | 1758.75 | 46
| Stage 4 Spray Pump – 55KW/75HP (VFD) |  | 30000 | 22500 | 2000 | 1500 | 40
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Stage 5 Spray Pump – 55KW/75HP (VFD) |  | 30000 | 22500 | 3000 | 2250 | 60
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Spare Roll around VFD |  | 30000 | 22500 |  |  | 0
| Entrance vest fan 3HP |  |  |  | 1984 | 1488 | 39
| Stage 6 Exhaust Fan – 2.2KW/3HP |  |  |  | 1984 | 1488 | 39
| Stage 6 Spray Pump – 55KW75HP (VFD) |  | 30000 | 22500 | 2000 | 1500 | 40
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Stage 7 Spray Pump – 55KW/75HP (VFD) |  | 30000 | 22500 | 2000 | 1500 | 40
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Stage 8 Spray Pump – 37KW/50HP (VFD) |  | 25000 | 18750 | 2000 | 1500 | 40
| 100 Amp Feeder 100' |  |  |  | 2345 | 1758.75 | 46
| Stage 9 Spray Pump – 55KW/75HP (VFD) |  | 30000 | 22500 | 2000 | 1500 | 40
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Hot Water Circulation Pump – 55KW/75HP (VFD) |  | 30000 | 22500 | 2000 | 1500 | 40
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Supply Fan – 22KW/30HP (VFD) |  | 18000 | 13500 | 2000 | 1500 | 40
| 100 Amp Feeder 100' |  |  |  | 2345 | 1758.75 | 46
Phosphate Storage Tank
| Control Panel |  | 20000 | 15000 | 2000 | 1500 | 40
PLC Programmimng
Start Up
| level sensor |  | 1000 | 750 | 800 | 600 | 16
| ECoat Storage Tank Pump – 22KW/30HP (VFD) |  | 18000 | 13500 | 1700 | 1275 | 34
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
Phosphate System Total Cost |  | 542040
| Engineering | 56000
| Material | 381825
| Install | 104215
Ecoat System
| Control Panel |  | 40000 | 30000 | 2000 | 1500 | 40 | 12000
| PLC Programmimng | [6 empty] | 15000
| Start Up | [6 empty] | 12000
Stage 1
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Flow switch to prove operation of exhaust fan |  | 100 | 75 | 400 | 300 | 8
Filter differential pressure switch
| Temperature probe, platinum 100 ohm RTD |  | 500 | 375 | 400 | 300 | 8
| Temperature Control Valve for Hot Water |  | 4000 | 3000 | 800 | 600 | 16
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 2
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
Stage 3
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
0.75
Stage 4
| Present photo-eye; N.O. contact closes with body present |  | 700 | 525 | 800 | 600 | 16
| Detect limit switch, nylon wand, |  | 300 | 225 | 400 | 300 | 8
| Spray proven flow transmitter |  | 1000 | 750 | 800 | 600 | 16
Filter differential pressure switch
| Liquid Level Control System |  | 3000 | 2250 | 800 | 600 | 16
| Auto Fill solenoid |  | 500 | 375 | 400 | 300 | 8
0.75
Stage 5
| Exit halo solenoid |  | 500 | 375 | 400 | 300 | 8
| Entrance Vestibule Exhaust Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Stage 1 Circulation Pump 1 – 22KW/30HP (VFD) |  | 15000 | 11250 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Stage 1 Circulation Pump 2 – 22KW/30HP (VFD) |  | 15000 | 11250 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Chilled Water Circulation Pump – xxKW (VFD) |  |  | 17000 | 2000 | 1500 | 40
| UF Circulation Pump – 37KW/50HP (VFD) |  |  | 18750 | 2000 | 1500 | 40
| 150 Amp Feeder 100' |  |  |  | 3550 | 2662.5 | 71
| Stage 3 Spray Pump – 18.5KW/25HP (VFD) |  | 15000 | 11250 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Stage 4 Circulation Pump – 30KW/40HP (VFD) |  | 18000 | 13500 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Stage 5 Circulation Pump – 30KW/40HP (VFD) |  |  | 0.75 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
0.75
| Permeate Tank Pump - 3.7KW/5HP |  |  |  | 1984 | 1488 | 39
Ecoat Storage Tank
| Control Panel |  | 20000 | 15000 | 2000 | 1500 | 40
PLC Programmimng
Start Up
| level sensor |  | 1000 | 750 | 800 | 600 | 16
| ECoat Storage Tank Pump – 22KW/30HP (VFD) |  | 18000 | 13500 | 1700 | 1275 | 34
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
Ecoat System Total Cost |  | 257662.75
| Engineering | 39000
| Material | 161825.75
| Install | 56837
Ecoat Oven / Cooler
| Control Panel |  | 40000 | 30000 | 2000 | 1500 | 40 | 12000
| PLC Programmimng | [6 empty] | 15000
| Start Up | [6 empty] | 12000
| Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| High Temperature Control Sensor, insertion type, 100 ohm platinum RTD; GIC |  | 300 | 225 | 400 | 300 | 8
| 1-Temperature Control Motor, electric, modulating, non- spring return; for operation of the burner fuel valve (mounting bracket and linkage to be furnished with the device to be operated); 120/60 powered, 4-20 ma DC control signal input; Honeywell |  | 1000 | 750 | 800 | 600 | 16
| 2-Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system; Honeywell C7061E |  | 3000 | 2250 | 800 | 600 | 16
| Flow Proven Switch |  | 800 | 600 | 6000 | 4500 | 120
| Oven Exhuast Fan – 0.75KW/0.5HP |  |  |  | 1984 | 1488 | 39
| Oven Zone 1 (Bring Up Zone) – Circulation Fan – 11KW/15HP (VFD) |  | 15000 | 11250 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Oven Zone 1 Combustion Blower – 0.75KW/1HP |  |  |  | 2000 | 1500 | 40
| Oven Zone 2 (Hold Zone) – Supply Fan – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
| Cooler Supply Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Circulation Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Exhaust Fan – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
ECoat Oven / Cooler |  | 110737
| Engineering | 39000
| Material | 45300
| Install | 26437
Selaer Oven / Cooler
| Control Panel |  | 40000 | 30000 | 2000 | 1500 | 40 | 12000
| PLC Programmimng | [6 empty] | 15000
| Start Up | [6 empty] | 12000
| Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| High Temperature Control Sensor, insertion type, 100 ohm platinum RTD; GIC |  | 300 | 225 | 400 | 300 | 8
| 1-Temperature Control Motor, electric, modulating, non- spring return; for operation of the burner fuel valve (mounting bracket and linkage to be furnished with the device to be operated); 120/60 powered, 4-20 ma DC control signal input |  | 1000 | 750 | 800 | 600 | 16
| Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system |  | 3000 | 2250 | 800 | 600 | 16
| Flow Proven Switch |  | 800 | 600 | 6000 | 4500 | 120
| Oven Exhuast Fan – 0.75KW/0.5HP |  |  |  | 1984 | 1488 | 39
| Oven Zone 1 (Bring Up Zone) – Circulation Fan – 11KW/15HP (VFD) |  | 15000 | 11250 | 1700 | 1275 | 34
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Oven Zone 1 Combustion Blower – 0.75KW/1HP |  |  |  | 1700 | 1275 | 34
| Oven Zone 2 (Hold Zone) – Supply Fan – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
| Cooler Supply Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Circulation Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Exhaust Fan – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
| Oven Exhuast Fan – 0.75KW/0.5HP |  |  |  | 1984 | 1488 | 39
| Oven Zone 1 (Bring Up Zone) – Circulation Fan – 11KW/15HP (VFD) |  | 15000 | 11250 | 1700 | 1275 | 34
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Oven Zone 1 Combustion Blower – 0.75KW/1HP |  |  |  | 1700 | 1275 | 34
| Oven Zone 2 (Hold Zone) – Supply Fan – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
| Cooler Supply Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Circulation Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Exhaust Fan – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
Sealer Oven / Cooler |  | 136824
| Engineering | 39000
| Material | 56550
| Install | 41274
Spraybooth
| Master Control Panel |  | 70000 | 52500 | 2000 | 1500 | 40 | 16000
| PLC Programmimng | [6 empty] | 24000
| Start Up | [6 empty] | 16000
FRESH AIR SUPPLY CONTROLS, PER UNIT, one (1) REQUIRED
| Intake Damper Operator |  | 2000 | 1500 | 800 | 600 | 16
| Damper Position Limit Switch |  | 400 | 300 | 1600 | 1200 | 32
| Air Flow Proven Switch |  | 1000 | 750 | 6400 | 4800 | 128
| Pre-Heat Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Temperature Control Motor, electric, modulating, non- spring return; for operation of the burner fuel valve (mounting bracket and linkage to be furnished with the device to be operated); 120/60 powered, 4-20 ma DC control signal input; Honeywell |  | 1000 | 750
| Discharge Temperature Hot Water Valve, modulating 4- 20 ma input; Three way, 3” x 3” x 3”; 150 lb Flanged connection; Stainless steel; Honeywell |  | 3000 | 2250 | 800 | 600 | 16
| Hot Water Coil Discharge Air Control Sensor, duct mounting type, 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Hot Water Control Sensor, insertion mounting type, with thermowell; 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Discharge Air Control Sensor, duct mounting type, 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Chilled Water Coil Discharge Temperature Chilled Water Valve, modulating 4- 20 ma input; Three way, 5” x 5” x 5”; 150 lb Flanged connection; Stainless steel; Honeywell |  | 3000 | 2250 | 800 | 600 | 16
| Chilled Water Control Sensor, insertion mounting type, with thermowell; 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Humidifier Coil Freeze Protection Low Temperature Limit; 20 foot averaging capillary type to be attached to leaving side of coils; auto-resetting; Honeywell L480B |  | 500 | 375 | 400 | 300 | 8
| Humidity Sensor/Transmitter matched to above controller; insertion type unit of "Bulk-Polymer" design to reduce maintenance; 4-20 ma DC output over 0-100% RH; Vaisala |  | 1500 | 1125 | 400 | 300 | 8
| Outside air high temperature limit switch to shut off burner when outside air temperature |  | 300 | 225 | 400 | 300 | 8
| 3-Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system; Honeywell C7061E |  | 4500 | 3375 | 1200 | 900 | 24
| 1-Filter differential pressure transmitter to signal PLC; including indicating gauge, 0-2" range; Dwyer |  | 1000 | 750 | 800 | 600 | 16
| 1-Wet Pan Flush Solenoid valve, ¾” Stainless steel; Asco |  | 300 | 225 | 400 | 300 | 8
| 1-Humidifier tank level control, float type; SJ Electrode |  | 300 | 225 | 400 | 300 | 8
| 1-Humidifier Make-up valve; 1”, 120 vac, stainless steel; Asco |  | 300 | 225 | 400 | 300 | 8
| 4-Humidifier water supply valves; 1”, 120 vac, stainless steel; Asco |  | 1200 | 900 | 1600 | 1200 | 32
| 1-Velocity Pressure sensor with 4-20 ma signal |  | 1000 | 750 | 800 | 600 | 16
| 1-LEL sensor with 4-20 ma input to the PLC; with sampling tupe for exhaust air; Gastech |  | 5500 | 4125 | 800 | 600 | 16
| 1-Intake damper operators, two position, linear gear driven, 1200 in/lb torque; 120/60 electric; Jordan |  | 2000 | 1500 | 800 | 600 | 16
| 2-Damper limit switches to detect "damper open" position; for interlocking with the fan starter circuit; Allen Bradley |  | 4000 | 3000 | 1600 | 1200 | 32
| 1-Pre-Heat Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| 1-Discharge Air Temperature Control; indicating, electric modulating control with automatic reset and rate action (PID), 4-20 ma DC control signal output, input range field configurable; located in the PLC; A/B |  | 300 | 225 | 400 | 300 | 8
| 1-Discharge Temperature Hot Water Valve, modulating 4- 20 ma input; Three way, 3” x 3” x 3”; 150 lb Flanged connection; Stainless steel; Honeywell |  | 3000 | 2250 | 800 | 600 | 16
| -Hot Water Coil Discharge Air Control Sensor, duct mounting type, 100 ohm platinum RTD; with 4-20ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| 1-Hot Water Control Sensor, insertion mounting type, with thermowell; 100 ohm platinum RTD; with 4-20ma transmitter; GIC |  | 500 | 375 | 400 | 300 | 8
| 1-Discharge Air Control Sensor, duct mounting type, 100 ohm platinum RTD; with 4-20ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| 1-Discharge Air Control Sensor, duct mounting type, 100 ohm platinum RTD; with 4-20ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| 1-Three way, 5” x 5” x 5”; 150 lb Flanged connection; Stainless steel; Honeywell |  | 3000 | 2250 | 800 | 600 | 16
| -Chilled Water Control Sensor, insertion mounting type, with thermowell; 100 ohm platinum RTD; with 4-20ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| Outside air high temperature limit switch to shut off burner when outside air temperature |  | 500 | 375 | 400 | 300 | 8
| 3-Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system; Honeywell C7061E |  | 4500 | 3375 | 1200 | 900 | 24
| 1-Filter differential pressure transmitter to signal PLC; including indicating gauge, 0-2" range; Dwyer |  | 1000 | 750 | 400 | 300 | 8
| 1-Wet Pan Flush Solenoid valve, ¾” Stainless steel; Asco |  | 300 | 225 | 400 | 300 | 8
| 1-Velocity Pressure sensor with 4-20 ma signal |  | 1000 | 750 | 800 | 600 | 16
| 1-LEL sensor with 4-20 ma input to the PLC; with sampling tupe for exhaust air; Gastech |  | 5500 | 4125 | 800 | 600 | 16
| Fresh Air ASH Supply Fan – 45KW/60HP (VFD) |  | 30000 | 22500 | 2000 | 1500 | 40
| 100 Amp Feeder 100' |  |  |  | 2345 | 1758.75 | 46
| Base Coat ASH Supply Fan – 90KW/125HP (VFD) |  | 60000 | 45000 | 2000 | 1500 | 40
| 200 Amp power feed |  |  |  | 4000 | 3000 | 80
Base Coat ASH Exhaust Fan – 11KW/15HP (VFD)
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Top Coat ASH Supply Fan – 90KW/125HP (VFD) |  | 60000 | 45000 | 2000 | 1500 | 40
| 200 Amp power feed |  |  |  | 4000 | 3000 | 80
Top Coat ASH Exhaust Fan – 11KW/15HP (VFD)
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Repair Booth Supply Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Repair Booth Exhaust Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
Sludge System
| Master Control Panel |  | 20000 | 15000 | 2000 | 1500 | 40 | 10000
| PLC Programmimng | [6 empty] | 12000
| Start Up | [6 empty] | 10000
| -Pump proven pressure transmitters, with 4- 20 ma output signal, loop powered; Ashcroft |  | 1500 | 1125 | 2000 | 1500 | 40
| Make-up ball valve, 2”, stainless steel body, 120 vac, on - off ; Apollo |  | 2000 | 1500 | 400 | 300 | 8
| Totalizing flow meter, with 4- 20 ma output signal; stainless steel body, 120 vac, |  | 1500 | 1125 | 800 | 600 | 16
| Liquid level system; for interlocking with the pump starter circuit; with 4- 20 ma output, low level cutout switch and gauge; E & H |  | 2000 | 1500 | 800 | 600 | 16
| Totalizing meter with 4-20 ma output, 3”; ABB Kent |  | 2000 | 1500 | 800 | 600 | 16
| Flow Control Butterfly valve, 4”, 150 lb. Flanged connections, two position with limit switches to detect “valve open” and “valve closed” position, pneumatic, on - off, 60 psi plant air required, solenoid activated, 120 vac |  | 3000 | 2250 | 800 | 600 | 16
| Palin Filter Pressure transmitters, with 4-20 ma output; Ashcroft |  | 500 | 375 | 400 | 300 | 8
| Sludge Circulation Pump #1 – 30KW/40HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Sludge Circulation Pump #2 - 30KW/40HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Sludge Circulation Pump #3 Stand-By - 30KW/40HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Palin System Supply Pump – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
Spraybooth Total |  | 443607
| Engineering | 88000
| Material | 275925
| Install | 79682
Paint Oven / Cooler
| Oven Control Panel |  | 40000 | 30000 | 2000 | 1500 | 40 | 12000
| PLC Programmimng |  |  |  |  | 0.75 |  | 15000
| Start Up |  |  |  |  | 0.75 |  | 12000
| Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| High Temperature Control Sensor, insertion type, 100 ohm platinum RTD; GIC |  | 300 | 225 | 400 | 300 | 8
| Temperature Control Motor, electric, modulating, non- spring return; for operation of the burner fuel valve (mounting bracket and linkage to be furnished with the device to be operated); 120/60 powered, 4-20 ma DC control signal input; Honeywell |  | 1000 | 750 | 800 | 600 | 16
| Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system; Honeywell C7061E |  | 3000 | 2250 | 800 | 600 | 16
| Flow Proven Switch |  | 800 | 600 | 6000 | 4500 | 120
0.75
| Oven Entrance Air Seal Fan – 4KW/5HP |  |  |  | 1984 | 1488 | 39
| Oven Zone 1 (Bring Up Zone) – Circulation Fan – 11KW/15HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 30 Amp Feeder 100' |  |  |  | 1500 | 1125 | 30
| Oven Zone 1 Combustion Blower – 0.75KW1HP |  |  |  | 1984 | 1488 | 39
| Oven Zone 2 (Bring Up Zone) – Circulation Fan – 15KW/20HP (VFD) |  |  |  |  | 0.75
| 40 Amp Feeder 100' |  |  |  | 1984 | 1488 | 39
| Oven Zone 2 Combustion Blower – 0.75KW/1HP |  |  |  | 1984 | 1488 | 39
| Oven Exit Air Seal Fan – 4KW/5HP |  |  |  | 1984 | 1488 | 39
| Oven Exhaust Fan – 2.2KW/2HP |  |  |  | 1984 | 1488 | 39
| Cooler Supply Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Circulation Fan – 7.5KW/10HP |  |  |  | 1984 | 1488 | 39
| Cooler Exhaust Fan – 5.5KW/7.5HP |  |  |  | 1984 | 1488 | 39
Paint Oven / Cooler Total |  | 119806
| Engineering | 39000
| Material | 49050
| Install | 31756
Plastic Parts Washer
Master Control Panel
PLC Programmimng
Start Up
Plastic Parts Dry Off Oven
| Oven Control Panel |  | 50000 | 37500 | 1000 | 750 | 20 | 16000
| PLC Programmimng | [6 empty] | 24000
| Start Up | [6 empty] | 16000
| Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| High Temperature Control Sensor, insertion type, 100 ohm platinum RTD; GIC |  | 300 | 225 | 400 | 300 | 8
| Temperature Control Motor, electric, modulating, non- spring return; for operation of the burner fuel valve (mounting bracket and linkage to be furnished with the device to be operated); 120/60 powered, 4-20 ma DC control signal input; Honeywell |  | 1000 | 750 | 800 | 600 | 16
| Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system; Honeywell C7061E |  | 3000 | 2250 | 800 | 600 | 16
| Flow Proven Switch |  | 800 | 600 | 6000 | 4500 | 120
| Dry Off Oven Supply Fan – 11KW/15HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 40 Amp Feeder 100' |  |  |  | 1984 | 1488 | 39
| Dry Off Oven Combustion Bower – 0.75KW/1HP |  |  |  | 1984 | 1488 | 39
| Dry Off Oven Exhaust Fan – 0.75KW/0.5HP |  |  |  | 1984 | 1488 | 39
Plastic Parts Dry Off Oven Total |  | 129902
| Engineering | 56000
| Material | 56550
| Install | 17352
Plastic Parts Spraybooth
| Master Control Panel |  | 70000 | 52500 | 1000 | 750 | 20 | 16000
| PLC Programmimng | [6 empty] | 24000
| Start Up | [6 empty] | 16000
FRESH AIR SUPPLY CONTROLS, PER UNIT, one (1) REQUIRED
| Intake Damper Operator |  | 2000 | 1500 | 800 | 600 | 16
| Damper Position Limit Switch |  | 400 | 300 | 1600 | 1200 | 32
| Air Flow Proven Switch |  | 1000 | 750 | 6400 | 4800 | 128
| Pre-Heat Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Temperature Control Motor, electric, modulating, non- spring return; for operation of the burner fuel valve (mounting bracket and linkage to be furnished with the device to be operated); 120/60 powered, 4-20 ma DC control signal input; Honeywell |  | 1000 | 750
| Discharge Temperature Hot Water Valve, modulating 4- 20 ma input; Three way, 3” x 3” x 3”; 150 lb Flanged connection; Stainless steel; Honeywell |  | 3000 | 2250 | 800 | 600 | 16
| Hot Water Coil Discharge Air Control Sensor, duct mounting type, 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Hot Water Control Sensor, insertion mounting type, with thermowell; 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Discharge Air Control Sensor, duct mounting type, 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Chilled Water Coil Discharge Temperature Chilled Water Valve, modulating 4- 20 ma input; Three way, 5” x 5” x 5”; 150 lb Flanged connection; Stainless steel; Honeywell |  | 3000 | 2250 | 800 | 600 | 16
| Chilled Water Control Sensor, insertion mounting type, with thermowell; 100 ohm platinum RTD; with 4-20ma transmitter |  | 300 | 225 | 400 | 300 | 8
| Humidifier Coil Freeze Protection Low Temperature Limit; 20 foot averaging capillary type to be attached to leaving side of coils; auto-resetting; Honeywell L480B |  | 500 | 375 | 400 | 300 | 8
| Humidity Sensor/Transmitter matched to above controller; insertion type unit of "Bulk-Polymer" design to reduce maintenance; 4-20 ma DC output over 0-100% RH; Vaisala |  | 1500 | 1125 | 400 | 300 | 8
| Outside air high temperature limit switch to shut off burner when outside air temperature |  | 300 | 225 | 400 | 300 | 8
| Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system; Honeywell C7061E |  | 4500 | 3375 | 1200 | 900 | 24
| Filter differential pressure transmitter to signal PLC; including indicating gauge, 0-2" range; Dwyer |  | 1000 | 750 | 800 | 600 | 16
| Wet Pan Flush Solenoid valve, ¾” Stainless steel; Asco |  | 300 | 225 | 400 | 300 | 8
| Humidifier tank level control, float type; SJ Electrode |  | 300 | 225 | 400 | 300 | 8
| Humidifier Make-up valve; 1”, 120 vac, stainless steel; Asco |  | 300 | 225 | 400 | 300 | 8
| Humidifier water supply valves; 1”, 120 vac, stainless steel; Asco |  | 1200 | 900 | 1600 | 1200 | 32
| Velocity Pressure sensor with 4-20 ma signal |  | 1000 | 750 | 800 | 600 | 16
| LEL sensor with 4-20 ma input to the PLC; with sampling tupe for exhaust air; Gastech |  | 5500 | 4125 | 800 | 600 | 16
| Fresh Air ASH Supply Fan – 30KW/40HP (VFD) |  | 25000 | 18750 | 2000 | 1500 | 40
| 60 Amp Feeder 100' |  |  |  | 2117 | 1587.75 | 42
| Paint Booth Cascade Fan – 15KW/20HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 40 Amp Feeder 100' |  |  |  | 1984 | 1488 | 39
| Paint Booth Exhaust Fan – 11KW/15HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 40 Amp Feeder 100' |  |  |  | 1984 | 1488 | 39
Plastic Parts Spraybooth Total |  | 211560
| Engineering | 56000
| Material | 122475
| Install | 33085
Plastic Parts Oven
| Oven Control Panel |  | 50000 | 37500 | 1000 | 750 | 20 | 16000
| PLC Programmimng |  |  |  |  | 0.75 |  | 24000
| Start Up |  |  |  |  | 0.75 |  | 16000
| Temperature Control Sensor, insertion type, 100 ohm platinum RTD; with 4- 20 ma transmitter; GIC |  | 300 | 225 | 400 | 300 | 8
| High Temperature Control Sensor, insertion type, 100 ohm platinum RTD; GIC |  | 300 | 225 | 400 | 300 | 8
| Temperature Control Motor, electric, modulating, non- spring return; for operation of the burner fuel valve (mounting bracket and linkage to be furnished with the device to be operated); 120/60 powered, 4-20 ma DC control signal input; Honeywell |  | 1000 | 750 | 800 | 600 | 16
| Flame detector matched to above flame relay; Ultra-violet type; one for pilot and main flame of single stage burner system; Honeywell C7061E |  | 3000 | 2250 | 800 | 600 | 16
| Flow Proven Switch |  | 800 | 600 | 6000 | 4500 | 120
0.75
| Paint Oven Entrance Air Seal Fan – 2.2KW/3HP |  |  |  | 1984 | 1488 | 39
| Paint Oven Circulation Fan – 11KW/15HP (VFD) |  | 20000 | 15000 | 2000 | 1500 | 40
| 40 Amp Feeder 100' |  |  |  | 1984 | 1488 | 39
| Paint Oven Combustion Blower – 0.75KW/1HP |  |  |  | 1984 | 1488 | 39
| Paint Oven Exit Air Seal Fan– 2.2KW/3HP |  |  |  | 1984 | 1488 | 39
| Paint Oven Exhaust Fan – 0.75KW/0.5HP |  |  |  | 1984 | 1488 | 39
Plastic Parts Oven Total |  | 133870
| Engineering | 56000
| Material | 56550
| Install | 21320
Power | (3) 600 Amp Power Feed (Up to 50 Ft.) |  |  |  | 22500 | 22500 | 450
| (3) 600 Amp Bus Plugs |  | 20000 | 20000
| (1) 400 Amp Power Feeds (Up to 50 Ft.) |  |  |  | 15000 | 15000 | 300
| (1) 400 Amp Bus Plugs |  | 12000 | 12000
| (4) 200 Amp Power Feeds (Up to 50 Ft.) |  |  |  | 12000 | 12000 | 240
| (4) 200 Amp Power Feeds |  | 3000 | 3000
| 100 KW Lighting Panel |  | 2000 | 10000 | 1000 | 2000 | 20
| Lighting Contactors |  | 2000 | 2000 | 1000 | 1000 | 20
| Total | 98500
Lighting
| Clean Room |  | 10000 | 10000 | 15000 | 15000 | 300
| Sludge Pit |  | 20000 | 20000 | 6000 | 6000 | 120
| Base Coat Lighting |  | 6000 | 6000 | 3000 | 3000 | 60
| Top Coat Lighting |  | 6000 | 6000 | 3000 | 3000 | 60
| Decks/Encl |  | 6000 | 10000 | 4000 | 4000 | 80
| Ecoat Oven |  |  | 3000 | 3000 | 3000
| Sealer Oven |  |  | 3000 | 3000 | 3000
| Plastic parts booths |  | 6000 | 6000 | 3000 | 3000 | 60
| Plastic Parts Decks Encl |  | 4000 | 4000 | 3000 | 3000 | 60
| Plastic Parts Oven |  |  | 3000 | 3000 | 3000
| Inspection Lighting |  | 8000 | 8000 | 3000 | 3000 | 60
| Total | 128000
|  | sub-totals | 1665400 | 1332050.75 | 512458 | 410476 | 10031 | 468000
7523.25
|  | total | 2645858 | 2312508.75
| Phosphate System | 542040
| Ecoat System | 257662.75
| Ecoat Oven / Cooler | 110737
| Sealer Oven / Cooler | 136824
| Spraybooth | 443607
| Paint Oven / Cooler | 119806
| Plastic Parts Dry Off Oven | 129902
| Plastic Parts Spraybooth | 211560
| Plastic Parts Oven | 133870
| Power | 98500
| Lighting | 128000
| total | 2312508.75